## Slide 1: IIoT & Industrial Automation Development WorkBench
TEKTORK PRIVATE LIMITED

## Slide 2: DVP-SS2 Series Download

## Slide 3: Software Installation Procedure and Datasheet Download for corresponding PLC’s
Products - PLC - Programmable Logic Controllers - Delta
Once the link opens, select the Quick Download option.
There is an option called ISPSoft and WPLSoft.
ISPSoft V3.22.01
WPLSoft V2.53
But currently, we are using ISPSoft because it is compatible with all kinds of PLCs
DIAStudio V1.0 Register & Download Manual

## Slide 4: HMI (Human-Machine Interface) Manual and Software Tool
VS,VS-Q installation manual-1.pdf
Software Download - INVT Electric Global

## Slide 5: 8 Digital Inputs (X0-X7) and 6 Digital Outputs (Y0-Y5)

## Slide 6: IIoT & Industrial Automation Development Board

## Slide 7: Three Cables: Power Supply and Two System Interface USB Cables
There are three cables:
  One is the power supply cable for 230 V,
  Another is the PLC programming cable, which is connected to the PLC on one end and to the system via a USB connector on the other end,
  The third is the built-in HMI interface cable, which also connects to the system through a USB port.

## Slide 8: Power Supply Cable

## Slide 9: PLC Programming Cable

## Slide 10: Inbuild HMI Cable for HMI Programming

## Slide 11: Bottom side of the PLC there is two wire, and three wire connections are there
Two wire connection are called it is as Modbus data communications RS-485 (+ and -)
Power supply connections are called it is Positive Voltage and negative Voltage and Ground connections.

## Slide 12: Modbus communication using a two-wire interface

## Slide 13: Power source for the PLC system provides 24V with positive and negative terminals, as well as a ground (GND) terminal

## Slide 14: Create a New Project

## Slide 15: Once after the Create a new Project

## Slide 16: Before starting the new project, we ensure that the Commgr functionality is working properly. Commgr stands for Communication Manager

## Slide 17: In the Commgr selection process, select the shortcut icon as shown below.

## Slide 18: Selection of specific parameters, such as panel communication, is done through the serial configuration.

## Slide 19: State is OK(START)

## Slide 20: Select ‘New’ in the program.

## Slide 21: Assigning X0 as Digital Input

## Slide 23: Double-click the highlighted arrow mark

## Slide 24: Memory Coil M0 Parallel to X0.

## Slide 25: Assigning Y0 as Output

## Slide 26: Simple: X0 as Input and Y0 as the corresponding Output.

## Slide 27: The same procedure is followed for X0–X5 and Y0–Y5.

## Slide 28: Choose the online mode option

## Slide 29: Select the option Yes

## Slide 30: Ready for program transfer to the PLC.

## Slide 31: Select a Option OK

## Slide 32: Select a option OK

## Slide 33: Ensure the PLC is in either STOP or RUN mode before proceeding.

## Slide 34: “If the system is stopped, toggle the PLC buttons in this order: RUN → STOP → RUN.

## Slide 35: Digital Inputs and Outputs

## Slide 36: Digital Output Measurement using Multimeter

## Slide 37: Whenever the digital input is ON and the digital output is ON, we can measure a corresponding 24 V output Respectively Input and Output

## Slide 38: HMI TOOL for Programming

## Slide 39: Select a Option OK

## Slide 40: Select Option for Download

## Slide 41: When programming the HMI screen

## Slide 42: While using HMI control, the corresponding output glows.

## Slide 43: While using HMI control, the corresponding output glows.

## Slide 44: Timer Concept Execution in PLC-Based IIoT Industrial Automation Development Workbench

## Slide 45: Timer Output in Human-Machine Interface Display

## Slide 46: PLC output operation based on timer logic